Pentre Cefn Bach – Electrics Guide

version 1 b Jan 2018	Objective to sort out what works, and doesn't, and where to look

TO DO:iBoost ecoboost /Immersun to make most of PV?
REUK version? home-made solar thermal ?(needs pumps etc)

Overview

The mains arrives to pole North West corner by Footpath, and then underground to the top barn Meter cupboard and then main distribution boards (Old-house, Extension, Garages).

It is PME (Protective Multiple Earth) system which is unusual in Rural areas.
Several electricians tried to add earth rods and even copper lattice + Bentonite .. to no avail.

There is an ECO-7 feed from the main meter.
The night hours are 12:30 to 07:30 in this area, confirmed by Good Energy – 20 April 2015
The main eco-7 board is now in the extension Plant room, feeds all 3 Immersion Heaters.

There are several SWA (armoured cables) going to Poly Tunnel, Hut64,
Across barns wall plate to Garages, and from the Garage to Front Gate.

There is a generator that requires manual Switching of circuits, before starting.
See below and other Doc

There are numerous other consumer units. Take photos.

Everything has been re-wired since 2011. (Care taken to avoid cable near polystyrene - pantry)

The PV array was commissioned in Feb 2011. nb: Array and FiT belong to who paid for it, not the house owner, though ownership can (&should?) be transferred as occupier gets the free elec.

Various Electricians have been involved
1. Pure Energy – Dan and Steve installed the PV array
2. Fused Forest – Dave & Kyle did the old-house mid 2011
3. Rob Elliot did first fix in extension 2014, and also 75% of the ventilation
  3a) various of J Thomas and Rob laid SWA and lots of CAT5 all over the land
4. MAC1 – Ben and ? - did first fix of North Hallway (made too much fuss about Earthing !)
5. Feb 2015 - Dan and Steve are back!! Discover PME.! But 4 part days in 6 months.
6. 23 Sept 2015 – Steve Michie (Oswestryelectrical.co.uk) + Ed, then Phil are taking a crack at it all. Sometimes 2days a week Wed/Fri.
7. By Sept 2017 Steve does the occasional half-day, latest apprentice is James.
8. Steve now works alone, apprentices too much hassle

Colin Sandford was involved in various bits, Plumb, Elec, Commissioning, now retired.

Old-House

Main consumer unit is low down (mistake in old age to be crawling on floor) near doors to Snug.
PLAN to relocate at eye-level – but maybe costly ? Idea is shelves where small fridge is.

There are two 'sides' to it, generally well labelled. Right hand side is Heavy stuff like Oven & Hob.

The unlabelled one - was used as an early connection into Ext. Now turned OFF. Needs checking.

In the 'Thermal Store Cupboard' there are separate distribution / isolator boxes for:
Solar PV
Generator / Mains switch over – see below, and the backup genie document

North Hallway (bare first fix at April 2015, empty Sept 2015, working 2017..Label it)

The PV meters / inverter and isolators - left of the chimney breast in Snug bedroom/storeroom.

Other:
        dead circuit to wall light in snug upstairs storeroom.

Extension

2nd fix etc started March-April 2015. But Stalled.

- Pure Energy replaced the noddy boxes with a 3-phase box.
- Eco-7, Essential(generator), on Grey Phase
- and 'normal mains only' services are easily separated.

A paper record was printed on inside of the door of big box.now mostly labelled by Steve
      At Pentre 2017 version 4

Garages

Simple! A 6A and 16A mcb box at top upper end of upper garage. Supply route is via SWA along the north wall-plate ( the wood that rafters sit on ) from the upper barn.

Connections to Front Gate (lighting, possible gate mechanism) do not exist in 2017, just SWA.

10w LED lights in Garages may not be earthed safely – out of reach so a long term issue.

North Hallway

Basic First fix done Feb 2015 by MAC1 – roof is only just becoming watertight 20-Apr-15.
Stalled, slowly Lighting cables above old-house door. And elsewhere. Switching to improve.
OTHER

All Boards & consumer units need labelling

External Lighting – much to be planned, rewired, etc.
First attempt on old-house was PIR and switched on modes each side (north and south), pair of switches by the doors.

8-switch bank in old-house by 'its front door' takes some memorising – but trial and error works.

Later, Light Bollards on Terraces

Generator sequence

All power is lost - don't Panic.

IF Log Burner is going full belt and Pumps are lost,
then shut-down Log Burner and “dumping” Radiators are VERY IMPORTANT

Need a way to know mains power is restored !
      Separate Sockets in upper barn? And feed to some LED in old-house & extension ??

Actions
- Find Torches
- Start Log Burner Shut down – IMPORTANT if the rest fails
- Turn Big Switch in Plant Room from 2 to middle Zero.
- Flip the unit in 'Thermal Store Cupboard' old-house Right Hand side pair to Mains Off
- (NEED emergency lights in Tunnel – type tbd – switchable???)
- Start Generator – turn Gas on, 'prime' (button on regulator), pull Starter, think +ve
- TEST Generator monthly October to April.
- Ensure no High Loads on any Ring Mains
- Generator capable of 5kw – but best to start slowly.

First priority: if Log Burner is on - get the Old-House pumps running.
Switch the Left Hand breakers to 'Gen On' (down)

Activate Extension electrics by turning Big Switch to 1

Ventilation system in Extension needs to be ? Essential , or only essential after 24 hours ?

And when Mains power comes back … do something like reverse of above

Generator shut-down is simply turn the Gas off